## BB Energy Rev Cal
|  |  | Office of Environment and Heritage 59 Goulburn Street Sydney NSW 2000 | T (02) 9995 6598 E info@environment.nsw.gov.au nabers.gov.au
NABERS Energy for offices Reverse Calculator
Version: | 12 | Date: | 2019-03-01
The NABERS Energy for offices reverse calculator helps you calculate the maximum amount of energy an office building can use to achieve a star rating that you specify. To ensure you achieve the rating, you should allow a factor of safety, and not design to the minimum figure for each star band. The output is the maximum amount of energy allowed to be used to achieve the rating you nominate.
Base Building
Updated on 23 Sep 2013 with NGA Factor released in July 2013
1. ENTER THE STAR RATING YOU WISH TO ACHIEVE
STARS
2. ENTER THE BASE BUILDING INFORMATION
Building Postcode
Hours each week with occupancy levels of 20% or more (hrs/week)
Net Lettable Area of the building (m2)
Percentage Breakdown of Energy Consumption: |  |  |  | Electricity | 0%
ERROR: Percentage breakdown must total 100% |  |  |  | Gas | 0%
|  |  |  | Coal | 0%
|  |  |  | Diesel | 0%
RESULTS
Benchmarking factor at selected rating
Maximum Allowable Energy Consumption
|  |  | Electricity |  | kWh per annum
|  |  | Gas |  | MJ per annum
|  |  | Coal |  | MJ per annum
|  |  | Coal |  | kg per annum
|  |  | Diesel |  | MJ per annum
|  |  | Diesel |  | L per annum
| Max total energy use in MJ |  |  | #VALUE! | MJ per annum
| Max total energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Electricity energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Gas energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Coal energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Diesel energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Max total greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max total greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
Calculations
h | 10
f_basebuilding | 2.0161
State | NSW
Climate zone | #N/A
SGEheat = SGEgas | 0.23
SGEelec | 0.94
SGEcoal | 0.32
SGEoil | 0.27
HDD18 | #N/A
CDD15wb | #N/A
Geclimcorr workings:
Term1 | 0.9476
Term2 | 40.984
Term3 | #N/A
Term4 | #N/A
Term5 | #N/A
Geclimcorr: | #N/A
A | 6.75
B | -0.03125
NGEmax | 232
GEmax | #N/A
Raw emission calculations | Scope 1, 2& 3 | Scope 1 & 2
SGEgas | 0.2311 | 0.18504
SGEelec | 0.9 | 0.81
SGEcoal | 0.33552 | 0.32472
SGEoil | 0.2646 | 0.25164
Beyond 5 stars
NGE at 5 stars in original rating scale | N/A
GE at 5 stars in the origincal rating scale | N/A
GE at 5.5 stars (25% reduction) | N/A
GE at 6 stars (50% reduction) | N/A
Conversion Factors
Electricity | 3.6 | MJ/kWh
Coal | 22.1 | MJ/kg
Oil | 38.6 | MJ/L

## calc_coefficients (hidden)
| Whole building |  | Base building |  | Tenancy
| A | B | A | B | A | B
ACT | 6.7605 | -0.016807 | 6.75 | -0.03125 | 6.7727 | -0.036364
NSW | 6.7605 | -0.016807 | 6.75 | -0.03125 | 6.7727 | -0.036364
NT | 6.4222 | -0.03323 | 6.4293 | -0.0614 | 6.4138 | -0.07242
QLD | 7.1 | -0.02 | 8.35 | -0.05 | 6.2667 | -0.0333
SA | 6.5247 | -0.016666 | 6.75 | -0.031045 | 6.2636 | -0.035981
TAS | 6.5351 | -0.015104 | 6.75 | -0.027062 | 6.2636 | -0.034182
VIC | 7.0114 | -0.0148 | 6.7544 | -0.0223 | 7.5889 | -0.044444 | <- implemented in online calculator version 8.0 (18 Oct 2010)
WA | 7.2857 | -0.02381 | 7.6818 | -0.04545 | 6.85 | -0.05
SGE values (kgCo2/kWh) for benchmarking factor calculation
State | Electricity | Gas | Coal | Oil
ACT | 0.94 | 0.23 | 0.32 | 0.27
NSW | 0.94 | 0.23 | 0.32 | 0.27
NT | 0.69 | 0.2 | 0.32 | 0.27
QLD | 1.02 | 0.2 | 0.32 | 0.27
SA | 0.95 | 0.21 | 0.32 | 0.27
TAS | 1 | 0.75 | 0.7 | 0.75
VIC | 1.34 | 0.21 | 0.32 | 0.27
WA | 0.92 | 0.22 | 0.32 | 0.27
Based on NGA factors (Sep 2019)
SGE values (kgCo2/kWh) for raw emissions calculation (scope 1+2+3)
unit = kgCo2/kWh
State | Electricity | Gas | Coal | Oil
ACT | 0.9 | 0.2311 | 0.33552 | 0.2646
NSW | 0.9 | 0.2311 | 0.33552 | 0.2646
NT | 0.71 | 0.185 | 0.33552 | 0.2646
QLD | 0.93 | 0.2164 | 0.33552 | 0.2646
SA | 0.54 | 0.2225 | 0.33552 | 0.2646
TAS | 0.17 | 0.185 | 0.33552 | 0.2646
VIC | 1.12 | 0.1991 | 0.33552 | 0.2646
WA | 0.73 | 0.1994 | 0.33552 | 0.2646
Based on NGA factors (Sep 2019)
SGE values (kgCo2/kWh) for raw emissions calculation (scope 1+2 only)
unit = kgCo2/kWh
State | Electricity | Gas | Coal | Oil
ACT | 0.81 | 0.18504 | 0.32472 | 0.25164
NSW | 0.81 | 0.18504 | 0.32472 | 0.25164
NT | 0.63 | 0.18504 | 0.32472 | 0.25164
QLD | 0.81 | 0.18504 | 0.32472 | 0.25164
SA | 0.44 | 0.18504 | 0.32472 | 0.25164
TAS | 0.15 | 0.18504 | 0.32472 | 0.25164
VIC | 1.02 | 0.18504 | 0.32472 | 0.25164
WA | 0.69 | 0.18504 | 0.32472 | 0.25164
Note on B5: relampj: Exergy NT Benchmark Report 2007
Note on B20: Erica Kenna: Unitless. Gives results in kWh, not kgCO2.
Note on C5: relampj: Exergy NT Benchmark Report 2007
Note on C20: Erica Kenna: Unitless. Gives results in kWh, not kgCO2 per kWh.
Note on D5: relampj: Exergy NT Benchmark Report 2007
Note on E5: relampj: Exergy NT Benchmark Report 2007
Note on F5: relampj: Exergy NT Benchmark Report 2007
Note on G5: relampj: Exergy NT Benchmark Report 2007

## WB Energy Rev Calc
|  |  | Office of Environment and Heritage 59 Goulburn Street Sydney NSW 2000 | T (02) 9995 6598 E info@environment.nsw.gov.au nabers.gov.au
NABERS Energy for offices Reverse Calculator
Version: | 12 | Date: | 2018-12-01
The NABERS Energy for offices reverse calculator helps you calculate the maximum amount of energy an office building can use to achieve a star rating that you specify. To ensure you achieve the rating, you should allow a factor of safety, and not design to the minimum figure for each star band. The output is the maximum amount of energy allowed to be used to achieve the rating you nominate.
Whole Building
Updated on 23 Sep 2013 with NGA Factor released in July 2013
1. ENTER THE STAR RATING YOU WISH TO ACHIEVE
STARS
2. ENTER THE WHOLE BUILDING INFORMATION
Building Postcode
Hours each week with occupancy levels of 20% or more (hrs/week)
Net Lettable Area of the building (m2)
Number of computers that are normally switched on when the building is occupied
Percentage Breakdown of Energy Consumption: |  |  |  | Electricity | 0%
ERROR: Percentage breakdown must total 100% |  |  |  | Gas | 0%
|  |  |  | Coal | 0%
|  |  |  | Diesel | 0%
RESULTS
Benchmarking factor at selected rating
Maximum Allowable Energy Consumption
|  |  | Electricity |  | kWh per annum
|  |  | Gas |  | MJ per annum
|  |  | Coal |  | MJ per annum
|  |  | Coal |  | kg per annum
|  |  | Oil |  | MJ per annum
|  |  | Diesel |  | L per annum
| Max total energy use in MJ |  |  | #VALUE! | MJ per annum
| Max total energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Electricity energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Gas energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Coal energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Diesel energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Max total greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max total greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
Calculations
h | 10
f_basebuilding | 2.0161
f_tenancy | 2.0619
State | NSW
Climate zone | #N/A
SGEheat = SGEgas | 0.23 |  | Based on fixed NGA factors
SGEelec | 0.94
SGEcoal | 0.32
SGEoil | 0.27
HDD18 | #N/A
CDD15wb | #N/A
Geclimcorr workings:
Term1 | 0.9476
Term2 | 40.984
Term3 | #N/A
Term4 | #N/A
Term5 | #N/A
Geclimcorr: | #N/A
SGE tenancy | 0.94
Dequip | #DIV/0!
Gecorr tenancy | #DIV/0!
A | 6.7605
B | -0.016807
NGEmax | 432.0003
Gewhole max | #N/A | #N/A
Raw emission calculations | Scope 1, 2& 3 | Scope 1 & 2
SGEgas | 0.2311 | 0.18504 |  | Using updated NGA factors
SGEelec | 0.9 | 0.81
SGEcoal | 0.33552 | 0.32472
SGEoil | 0.2646 | 0.25164
Beyond 5 stars
NGE at 5 stars in original rating scale | N/A
GE at 5 stars in the origincal rating scale | N/A
GE at 5.5 stars (25% reduction) | N/A
GE at 6 stars (50% reduction) | N/A
Conversion Factors
Electricity | 3.6 | MJ/kWh
Coal | 22.1 | MJ/kg
Oil | 38.6 | MJ/L

## Tenancy Energy Rev Calc
|  |  | Office of Environment and Heritage 59 Goulburn Street Sydney NSW 2000 | T (02) 9995 6598 E info@environment.nsw.gov.au nabers.gov.au
NABERS Energy for offices Reverse Calculator
Version: | 12 | Date: | 2019-03-01
The NABERS Energy for offices reverse calculator helps you calculate the maximum amount of energy an office building can use to achieve a star rating that you specify. To ensure you achieve the rating, you should allow a factor of safety, and not design to the minimum figure for each star band. The output is the maximum amount of energy allowed to be used to achieve the rating you nominate.
Tenancy
Updated on 23 Sep 2013 with NGA Factor released in July 2013
1. ENTER THE STAR RATING YOU WISH TO ACHIEVE
STARS
2. ENTER THE TENANCY INFORMATION
Building Postcode
Hours each week with occupancy levels of 20% or more (hrs/week)
Net Lettable Area of the building (m2)
Number of computers that are normally switched on when the building is occupied
Percentage Breakdown of Energy Consumption: |  |  |  | Electricity | 0%
ERROR: Percentage breakdown must total 100% |  |  |  | Gas | 0%
|  |  |  | Coal | 0%
|  |  |  | Diesel | 0%
RESULTS
Benchmarking factor at selected rating
Maximum Allowable Energy Consumption
|  |  | Electricity |  | kWh per annum
|  |  | Gas |  | MJ per annum
|  |  | Coal |  | MJ per annum
|  |  | Coal |  | kg per annum
|  |  | Oil |  | MJ per annum
|  |  | Diesel |  | L per annum
| Max total energy use in MJ |  |  | #VALUE! | MJ per annum
| Max total energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Electricity energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Gas energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Coal energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Diesel energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Max total greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max total greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
Calculations
h | 10
f_tenancy | 2.0619
State | NSW
Climate zone | #N/A
HDD18 | #N/A
CDD15wb | #N/A
SGEelec | 0.94
SGEgas | 0.23
SGEcoal | 0.32
SGEoil | 0.27
SGE tenancy | 0.94
Dequip | #DIV/0! | kW/m2
GE corr tenancy | #DIV/0!
A | 6.7727
B | -0.036364
NGEmax | 199.9972
GEmax | #DIV/0!
Raw emission calculations | Scope 1, 2& 3 | Scope 1 & 2
SGEgas | 0.2311 | 0.18504
SGEelec | 0.9 | 0.81
SGEcoal | 0.33552 | 0.32472
SGEoil | 0.2646 | 0.25164
Beyond 5 stars
NGE at 5 stars in original rating scale | N/A
GE at 5 stars in the origincal rating scale | N/A
GE at 5.5 stars (25% reduction) | N/A
GE at 6 stars (50% reduction) | N/A
Conversion Factors
Electricity | 3.6 | MJ/kWh
Coal | 22.1 | MJ/kg
Oil | 38.6 | MJ/L

## BB ERF tab
NABERS Energy for Offices - Base Building
Worksheet for ERF commercial buildings projects
Version 12
IMPORTANT INFORMATION: This worksheet is developed to assist proponents, who are using the Commercial Buildings Methodology under the Emissions Reduction Fund (ERF), in entering the required data values and identifying relevant results that are used in calculating the baseline emissions and minimum abatement amount. The results generated in this worksheet are calculated using the identical algorithm that underpins the corresponding full version reverse calculator. However, only results that are relevant to the calculations within the Commercial Buildings Methodology are shown in this worksheet. Accordingly, this worksheet may not be suitable for other purposes.
INSTRUCTIONS: You may use this worksheet to generate the energy consumption data required for the calculation of the baseline emissions (equation 3 in the Methodology), or the calculation of the minimum abatement amount (equation 7). Please enter your data values into sections 1 and 2 below. The values that are currently contained in the data cells are default values only. When entering the data values, please refer to the Commercial Buildings Methodology Determination and guidance regarding how these values should be determined. The Determination and guidance are available at www.comlaw.gov.au and www.cleanenergyregulator.gov.au. Results are displayed in section 3. Only results that are relevant to the calculations within the ERF Commercial Building Methodology are displayed. Additional notes adjacent to the results provide brief information about how the results are to be used in the calculations in the Methodology. Further information is available at the Determination and guidance mentioned above.
Base Building
Updated on 23 Sep 2013 with NGA Factor released in July 2013
1. ENTER THE STAR RATING
Enter the baseline rating for calculating the baseline emissions, or the baseline rating + 1 star for calculating the minimum abatement.
Note: Decimal ratings between 0.5 star increments are only acceptable in this worksheet and not the full version of the corresponding reverse calculator.
STARS
2. ENTER THE BASE BUILDING INFORMATION
Building Postcode
Hours each week with occupancy levels of 20% or more (hrs/week)
Net Lettable Area of the building (m2)
Percentage Breakdown of Energy Consumption: |  |  |  | Electricity | 0%
ERROR: Percentage breakdown must total 100% |  |  |  | Gas | 0%
|  |  |  | Coal | 0%
|  |  |  | Diesel | 0%
3. RESULTS
Benchmarking factor at selected rating
Results - Energy Consumption
|  |  | Electricity |  | kWh per annum
|  |  | Gas |  | MJ per annum
|  |  | Coal |  | MJ per annum
|  |  | Coal |  | kg per annum
|  |  | Diesel |  | MJ per annum
|  |  | Diesel |  | L per annum
Note: These values are to be used in equation 3 of the Methodology for calculating the baseline emissions, or equation 7 for calculating the minimum abatement amount.
Units used in the Determination may not be the same as the outputs from the calculator. Proponents should make sure they perform an appropriate unit conversion following the instructions given in the Determination (subsections 21(2) and 27(2)).
| Max total energy use in MJ |  |  | #VALUE! | MJ per annum
| Max total energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Electricity energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Gas energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Coal energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Diesel energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Max total greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max total greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
Calculations
h | 10
f_basebuilding | 2.0161
State | NSW
Climate zone | #N/A
SGEheat = SGEgas | 0.23
SGEelec | 0.94
SGEcoal | 0.32
SGEoil | 0.27
HDD18 | #N/A
CDD15wb | #N/A
Geclimcorr workings:
Term1 | 0.9476
Term2 | 40.984
Term3 | #N/A
Term4 | #N/A
Term5 | #N/A
Geclimcorr: | #N/A
A | 6.75
B | -0.03125
NGEmax | 232
GEmax | #N/A
Raw emission calculations | Scope 1, 2& 3 | Scope 1 & 2
SGEgas | 0.2311 | 0.18504
SGEelec | 0.9 | 0.81
SGEcoal | 0.33552 | 0.32472
SGEoil | 0.2646 | 0.25164
Beyond 5 stars |  |  |  |  | beyond 5 stars ERF
NGE at 5 stars in original rating scale | N/A |  |  |  | 5 | 1
GE at 5 stars in the origincal rating scale | N/A |  |  |  | 5.05 | 0.975
GE beyond 5 stars | N/A |  |  |  | 5.1 | 0.95
[5 empty] | 5.15 | 0.925
[5 empty] | 5.2 | 0.9
Conversion Factors |  |  |  |  | 5.25 | 0.875
Electricity | 3.6 | MJ/kWh |  |  | 5.3 | 0.85
Coal | 22.1 | MJ/kg |  |  | 5.35 | 0.825
Oil | 38.6 | MJ/L |  |  | 5.4 | 0.8
[5 empty] | 5.45 | 0.775
[5 empty] | 5.5 | 0.75
[5 empty] | 5.55 | 0.725
[5 empty] | 5.6 | 0.7
[5 empty] | 5.65 | 0.675
[5 empty] | 5.7 | 0.65
[5 empty] | 5.75 | 0.625
[5 empty] | 5.8 | 0.6
[5 empty] | 5.85 | 0.575
[5 empty] | 5.9 | 0.55
[5 empty] | 5.95 | 0.525
[5 empty] | 6 | 0.5

## WB ERF tab
NABERS Energy for Offices - Whole building
Worksheet for ERF commercial buildings projects
Version 12
IMPORTANT INFORMATION: This worksheet is developed to assist proponents, who are using the Commercial Buildings Methodology under the Emissions Reduction Fund (ERF), in entering the required data values and identifying relevant results that are used in calculating the baseline emissions and minimum abatement amount. The results generated in this worksheet are calculated using the identical algorithm that underpins the corresponding full version reverse calculator. However, only results that are relevant to the calculations within the Commercial Buildings Methodology are shown in this worksheet. Accordingly, this worksheet may not be suitable for other purposes.
INSTRUCTIONS: You may use this worksheet to generate the energy consumption data required for the calculation of the baseline emissions (equation 3 in the Methodology), or the calculation of the minimum abatement amount (equation 7). Please enter your data values into sections 1 and 2 below. The values that are currently contained in the data cells are default values only. When entering the data values, please refer to the Commercial Buildings Methodology Determination and guidance regarding how these values should be determined. The Determination and guidance are available at www.comlaw.gov.au and www.cleanenergyregulator.gov.au. Results are displayed in section 3. Only results that are relevant to the calculations within the ERF Commercial Building Methodology are displayed. Additional notes adjacent to the results provide brief information about how the results are to be used in the calculations in the Methodology. Further information is available at the Determination and guidance mentioned above.
Whole Building
Updated on 23 Sep 2013 with NGA Factor released in July 2013
1. ENTER THE STAR RATING
Enter the baseline rating for calculating the baseline emissions, or the baseline rating + 1 star for calculating the minimum abatement.
Note: Decimal ratings between 0.5 star increments are only acceptable in this worksheet and not the full version of the corresponding reverse calculator.
STARS
2. ENTER THE WHOLE BUILDING INFORMATION
Building Postcode
Hours each week with occupancy levels of 20% or more (hrs/week)
Net Lettable Area of the building (m2)
Number of computers that are normally switched on when the building is occupied
Percentage Breakdown of Energy Consumption: |  |  |  | Electricity | 0%
ERROR: Percentage breakdown must total 100% |  |  |  | Gas | 0%
|  |  |  | Coal | 0%
|  |  |  | Diesel | 0%
3. RESULTS
Benchmarking factor at selected rating
Results - Energy Consumption
|  |  | Electricity |  | kWh per annum
|  |  | Gas |  | MJ per annum
|  |  | Coal |  | MJ per annum
|  |  | Coal |  | kg per annum
|  |  | Oil |  | MJ per annum
|  |  | Diesel |  | L per annum
Note: These values are to be used in equation 3 of the Methodology for calculating the baseline emissions, or equation 7 for calculating the minimum abatement amount.
Units used in the Determination may not be the same as the outputs from the calculator. Proponents should make sure they perform an appropriate unit conversion following the instructions given in the Determination (subsections 21(2) and 27(2)).
| Max total energy use in MJ |  |  | #VALUE! | MJ per annum
| Max total energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Electricity energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Gas energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Coal energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Diesel energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Max total greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max total greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
Calculations
h | 10
f_basebuilding | 2.0161
f_tenancy | 2.0619
State | NSW
Climate zone | #N/A
SGEheat = SGEgas | 0.23 |  | Based on fixed NGA factors
SGEelec | 0.94
SGEcoal | 0.32
SGEoil | 0.27
HDD18 | #N/A
CDD15wb | #N/A
Geclimcorr workings:
Term1 | 0.9476
Term2 | 40.984
Term3 | #N/A
Term4 | #N/A
Term5 | #N/A
Geclimcorr: | #N/A
SGE tenancy | 0.94
Dequip | #DIV/0!
Gecorr tenancy | #DIV/0!
A | 6.7605
B | -0.016807
NGEmax | 432.0003
Gewhole max | #N/A | #N/A
Raw emission calculations | Scope 1, 2& 3 | Scope 1 & 2
SGEgas | 0.2311 | 0.18504 |  | Using updated NGA factors
SGEelec | 0.9 | 0.81
SGEcoal | 0.33552 | 0.32472
SGEoil | 0.2646 | 0.25164
beyond 5 stars ERF
Beyond 5 stars |  |  |  |  | 5 | 1
NGE at 5 stars in original rating scale | N/A |  |  |  | 5.05 | 0.975
GE at 5 stars in the origincal rating scale | N/A |  |  |  | 5.1 | 0.95
GE beyond 5 stars | N/A |  |  |  | 5.15 | 0.925
[5 empty] | 5.2 | 0.9
[5 empty] | 5.25 | 0.875
Conversion Factors |  |  |  |  | 5.3 | 0.85
Electricity | 3.6 | MJ/kWh |  |  | 5.35 | 0.825
Coal | 22.1 | MJ/kg |  |  | 5.4 | 0.8
Oil | 38.6 | MJ/L |  |  | 5.45 | 0.775
[5 empty] | 5.5 | 0.75
[5 empty] | 5.55 | 0.725
[5 empty] | 5.6 | 0.7
[5 empty] | 5.65 | 0.675
[5 empty] | 5.7 | 0.65
[5 empty] | 5.75 | 0.625
[5 empty] | 5.8 | 0.6
[5 empty] | 5.85 | 0.575
[5 empty] | 5.9 | 0.55
[5 empty] | 5.95 | 0.525
[5 empty] | 6 | 0.5

## Tenancy ERF tab
NABERS Energy for Offices - Tenancy
Worksheet for ERF commercial buildings projects
Version 12
IMPORTANT INFORMATION: This worksheet is developed to assist proponents, who are using the Commercial Buildings Methodology under the Emissions Reduction Fund (ERF), in entering the required data values and identifying relevant results that are used in calculating the baseline emissions and minimum abatement amount. The results generated in this worksheet are calculated using the identical algorithm that underpins the corresponding full version reverse calculator. However, only results that are relevant to the calculations within the Commercial Buildings Methodology are shown in this worksheet. Accordingly, this worksheet may not be suitable for other purposes.
INSTRUCTIONS: You may use this worksheet to generate the energy consumption data required for the calculation of the baseline emissions (equation 3 in the Methodology), or the calculation of the minimum abatement amount (equation 7). Please enter your data values into sections 1 and 2 below. The values that are currently contained in the data cells are default values only. When entering the data values, please refer to the Commercial Buildings Methodology Determination and guidance regarding how these values should be determined. The Determination and guidance are available at www.comlaw.gov.au and www.cleanenergyregulator.gov.au. Results are displayed in section 3. Only results that are relevant to the calculations within the ERF Commercial Building Methodology are displayed. Additional notes adjacent to the results provide brief information about how the results are to be used in the calculations in the Methodology. Further information is available at the Determination and guidance mentioned above.
Tenancy
Updated on 23 Sep 2013 with NGA Factor released in July 2013
1. ENTER THE STAR RATING
Enter the baseline rating for calculating the baseline emissions, or the baseline rating + 1 star for calculating the minimum abatement.
Note: Decimal ratings between 0.5 star increments are only acceptable in this worksheet and not the full version of the corresponding reverse calculator.
STARS
2. ENTER THE TENANCY INFORMATION
Building Postcode
Hours each week with occupancy levels of 20% or more (hrs/week)
Net Lettable Area of the building (m2)
Number of computers that are normally switched on when the building is occupied
Percentage Breakdown of Energy Consumption: |  |  |  | Electricity | 0%
ERROR: Percentage breakdown must total 100% |  |  |  | Gas | 0%
|  |  |  | Coal | 0%
|  |  |  | Diesel | 0%
3. RESULTS
Benchmarking factor at selected rating
Results - Energy Consumption
|  |  | Electricity |  | kWh per annum
|  |  | Gas |  | MJ per annum
|  |  | Coal |  | MJ per annum
|  |  | Coal |  | kg per annum
|  |  | Oil |  | MJ per annum
|  |  | Diesel |  | L per annum
Note: These values are to be used in equation 3 of the Methodology for calculating the baseline emissions, or equation 7 for calculating the minimum abatement amount.
Units used in the Determination may not be the same as the outputs from the calculator. Proponents should make sure they perform an appropriate unit conversion following the instructions given in the Determination (subsections 21(2) and 27(2)).
| Max total energy use in MJ |  |  | #VALUE! | MJ per annum
| Max total energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Electricity energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Gas energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Coal energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Diesel energy intensity |  |  | #VALUE! | MJ/m2 per annum
| Max total greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1, 2 & 3 |  |  | #VALUE! | kg CO2 per annum
| Max total greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Max greenhouse emissions intensity (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2/m2 per annum
| Electricity greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Gas greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Coal greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
| Diesel greenhouse emissions (raw), Scope 1 & 2 |  |  | #VALUE! | kg CO2 per annum
Calculations
h | 10
f_tenancy | 2.0619
State | NSW
Climate zone | #N/A
HDD18 | #N/A
CDD15wb | #N/A
SGEelec | 0.94
SGEgas | 0.23
SGEcoal | 0.32
SGEoil | 0.27
SGE tenancy | 0.94
Dequip | #DIV/0! | kW/m2
GE corr tenancy | #DIV/0!
A | 6.7727
B | -0.036364
NGEmax | 199.9972
GEmax | #DIV/0!
Raw emission calculations | Scope 1, 2& 3 | Scope 1 & 2
SGEgas | 0.2311 | 0.18504
SGEelec | 0.9 | 0.81
SGEcoal | 0.33552 | 0.32472
SGEoil | 0.2646 | 0.25164
Beyond 5 stars
NGE at 5 stars in original rating scale | N/A |  |  |  | beyond 5 stars ERF
GE at 5 stars in the origincal rating scale | N/A |  |  |  | 5 | 1
GE beyond 5 stars | N/A |  |  |  | 5.05 | 0.975
[5 empty] | 5.1 | 0.95
[5 empty] | 5.15 | 0.925
Conversion Factors |  |  |  |  | 5.2 | 0.9
Electricity | 3.6 | MJ/kWh |  |  | 5.25 | 0.875
Coal | 22.1 | MJ/kg |  |  | 5.3 | 0.85
Oil | 38.6 | MJ/L |  |  | 5.35 | 0.825
[5 empty] | 5.4 | 0.8
[5 empty] | 5.45 | 0.775
[5 empty] | 5.5 | 0.75
[5 empty] | 5.55 | 0.725
[5 empty] | 5.6 | 0.7
[5 empty] | 5.65 | 0.675
[5 empty] | 5.7 | 0.65
[5 empty] | 5.75 | 0.625
[5 empty] | 5.8 | 0.6
[5 empty] | 5.85 | 0.575
[5 empty] | 5.9 | 0.55
[5 empty] | 5.95 | 0.525
[5 empty] | 6 | 0.5

## Climate_zone (hidden)
Climate_id | Name | State_id | Hdd | Cdd
1 | Kimberley | 1 | 6 | 2016
2 | Pilbara | 1 | 27 | 1782
3 | Gascoyne | 1 | 159 | 1001
4 | Interior | 1 | 312 | 770
5 | Central West | 1 | 446 | 553
6 | Central Wheat Belt | 1 | 939 | 327
7 | Lower West | 1 | 680 | 340
8 | Great Southern | 1 | 1249 | 185
9 | South West | 1 | 1048 | 274
10 | Southern Coastal | 1 | 1112 | 132
11 | Goldfields | 1 | 899 | 243
12 | Eucla | 1 | 768 | 360
13 | Mallee | 2 | 1160 | 201
14 | Wimmera | 2 | 1610 | 120
15 | Western District | 2 | 2049 | 104
16 | Northern Country | 2 | 1595 | 248
17 | North Central | 2 | 1846 | 145
18 | Central | 2 | 1590 | 100
19 | Northeast | 2 | 2031 | 194
20 | West and South Gippsland | 2 | 2021 | 136
21 | East Gippsland | 2 | 1569 | 180
22 | Northwest Coast and King Island | 3 | 1997 | 52
23 | West & South Coast & Highlands | 3 | 2516 | 48
24 | Central Plateau and Upper Derwent Valley | 3 | 3056 | 34
25 | Central North and Midlands | 3 | 2421 | 25
26 | South East, Huon & Channel and Lower Derwent Valley | 3 | 2049 | 29
27 | North East and Flinders Island | 3 | 1903 | 137
28 | East Coast | 3 | 1869 | 80
29 | Western Agricultural | 4 | 963 | 229
30 | Northwest Pastoral | 4 | 615 | 286
31 | Northeast Pastoral | 4 | 746 | 340
32 | Northern Agricultural | 4 | 954 | 354
33 | Central | 4 | 1554 | 132
34 | Murray | 4 | 1258 | 173
35 | Southeast | 4 | 1813 | 61
36 | Peninsula | 5 | 0 | 2835
37 | Gulf Country | 5 | 4 | 2288
38 | Northern Goldfields and Upper Flinders | 5 | 52 | 1470
39 | Northern Tropical Coast and Tablelands | 5 | 4 | 2211
41 | Herbert and Lower Burdekin | 5 | 17 | 2429
42 | Central Coast - Whitsundays | 5 | 98 | 1950
43 | Capricornia | 5 | 140 | 1424
44 | Central Highlands - Coalfields | 5 | 207 | 1143
45 | Central West | 5 | 255 | 1024
46 | Northwest | 5 | 137 | 955
47 | Channel Country | 5 | 380 | 820
48 | Maranoa and Warrego | 5 | 603 | 844
49 | Darling Downs and Granite Belt | 5 | 660 | 876
50 | Wide Bay and Burnett | 5 | 229 | 1375
51 | Southeast Coast | 5 | 325 | 1043
52 | Upper Western | 6 | 813 | 523
53 | Lower Western | 6 | 1112 | 230
54 | Riverina | 6 | 1330 | 358
55 | North West Slopes and Plains | 6 | 944 | 470
56 | Central West Slopes and Plains | 6 | 1164 | 283
57 | South West Slopes | 6 | 1608 | 219
58 | Northern Rivers | 6 | 401 | 1122
59 | Northern Tablelands | 6 | 1769 | 206
60 | Mid-North Coast | 6 | 596 | 853
61 | Hunter | 6 | 616 | 653
62 | Central Tablelands | 6 | 2023 | 89
63 | Metropolitan | 6 | 642 | 541
64 | Southern Tablelands | 6 | 2186 | 80
65 | South Coast & Illawarra | 6 | 690 | 577
66 | Darwin - Daly | 8 | 0 | 2895
67 | Arnhem | 8 | 0 | 3344
68 | Roper - McArthur | 8 | 10 | 2165
69 | Victoria | 8 | 1 | 2369
70 | Barkly | 8 | 79 | 958
71 | Alice Springs | 8 | 660 | 379

## Climate_pcode_xref (hidden)
Postcode | Climate_zone
200 | 64
211 | 64
212 | 64
230 | 64
237 | 64
238 | 64
239 | 64
240 | 64
241 | 64
242 | 64
243 | 64
244 | 64
245 | 64
246 | 64
247 | 64
248 | 64
249 | 64
250 | 64
251 | 64
252 | 64
253 | 64
254 | 64
255 | 64
256 | 64
257 | 64
258 | 64
259 | 64
260 | 64
261 | 64
262 | 64
263 | 64
264 | 64
266 | 64
267 | 64
268 | 64
269 | 64
270 | 64
271 | 64
272 | 64
273 | 64
274 | 64
275 | 64
276 | 64
277 | 64
278 | 64
279 | 64
280 | 64
281 | 64
282 | 64
283 | 64
284 | 64
285 | 64
286 | 64
287 | 64
288 | 64
289 | 64
290 | 64
291 | 64
293 | 64
294 | 64
295 | 64
296 | 64
297 | 64
298 | 64
299 | 64
800 | 66
801 | 66
804 | 66
810 | 66
811 | 66
812 | 66
813 | 66
814 | 66
815 | 66
820 | 66
821 | 66
822 | 66
828 | 66
830 | 66
831 | 66
832 | 66
835 | 66
836 | 66
837 | 66
840 | 66
845 | 66
846 | 66
847 | 66
850 | 66
851 | 66
852 | 66
853 | 66
854 | 66
860 | 70
861 | 70
862 | 70
870 | 71
871 | 71
872 | 71
880 | 67
881 | 67
885 | 67
886 | 66
909 | 66
1001 | 63
1002 | 63
1003 | 63
1004 | 63
1005 | 63
1006 | 63
1007 | 63
1008 | 63
1009 | 63
1010 | 63
1011 | 63
1012 | 63
1013 | 63
1015 | 63
1016 | 63
1017 | 63
1018 | 63
1019 | 63
1020 | 63
1021 | 63
1022 | 63
1023 | 63
1024 | 63
1025 | 63
1026 | 63
1027 | 63
1028 | 63
1029 | 63
1030 | 63
1031 | 63
1032 | 63
1033 | 63
1034 | 63
1035 | 63
1036 | 63
1037 | 63
1038 | 63
1039 | 63
1040 | 63
1041 | 63
1042 | 63
1043 | 63
1044 | 63
1045 | 63
1046 | 63
1047 | 63
1048 | 63
1049 | 63
1050 | 63
1051 | 63
1052 | 63
1053 | 63
1054 | 63
1055 | 63
1056 | 63
1057 | 63
1058 | 63
1059 | 63
1060 | 63
1061 | 63
1062 | 63
1063 | 63
1064 | 63
1065 | 63
1066 | 63
1067 | 63
1068 | 63
1069 | 63
1070 | 63
1071 | 63
1072 | 63
1073 | 63
1074 | 63
1075 | 63
1076 | 63
1077 | 63
1078 | 63
1079 | 63
1080 | 63
1081 | 63
1082 | 63
1083 | 63
1084 | 63
1085 | 63
1086 | 63
1087 | 63
1088 | 63
1089 | 63
1090 | 63
1091 | 63
1092 | 63
1093 | 63
1094 | 63
1095 | 63
1096 | 63
1097 | 63
1098 | 63
1099 | 63
1100 | 63
1101 | 63
1102 | 63
1103 | 63
1104 | 63
1105 | 63
1106 | 63
1107 | 63
1108 | 63
1109 | 63
1110 | 63
1112 | 63
1113 | 63
1114 | 63
1115 | 63
1116 | 63
1118 | 63
1119 | 63
1120 | 63
1121 | 63
1122 | 63
1123 | 63
1124 | 63
1125 | 63
1126 | 63
1127 | 63
1128 | 63
1129 | 63
1130 | 63
1131 | 63
1132 | 63
1133 | 63
1134 | 63
1135 | 63
1136 | 63
1137 | 63
1138 | 63
1139 | 63
1140 | 63
1141 | 63
1142 | 63
1143 | 63
1144 | 63
1145 | 63
1146 | 63
1147 | 63
1148 | 63
1149 | 63
1150 | 63
1151 | 63
1152 | 63
1153 | 63
1154 | 63
1155 | 63
1156 | 63
1157 | 63
1158 | 63
1159 | 63
1160 | 63
1161 | 63
1162 | 63
1163 | 63
1164 | 63
1165 | 63
1166 | 63
1167 | 63
1168 | 63
1169 | 63
1170 | 63
1171 | 63
1172 | 63
1173 | 63
1174 | 63
1175 | 63
1176 | 63
1177 | 63
1178 | 63
1179 | 63
1180 | 63
1181 | 63
1182 | 63
1183 | 63
1184 | 63
1185 | 63
1186 | 63
1187 | 63
1188 | 63
1189 | 63
1190 | 63
1191 | 63
1192 | 63
1193 | 63
1194 | 63
1195 | 63
1196 | 63
1197 | 63
1198 | 63
1199 | 63
1200 | 63
1201 | 63
1202 | 63
1203 | 63
1204 | 63
1205 | 63
1206 | 63
1207 | 63
1208 | 63
1209 | 63
1210 | 63
1211 | 63
1212 | 63
1213 | 63
1214 | 63
1215 | 63
1216 | 63
1217 | 63
1218 | 63
1219 | 63
1220 | 63
1221 | 63
1222 | 63
1223 | 63
1224 | 63
1225 | 63
1226 | 63
1227 | 63
1228 | 63
1229 | 63
1230 | 63
1231 | 63
1232 | 63
1233 | 63
1234 | 63
1235 | 63
1236 | 63
1237 | 63
1238 | 63
1239 | 63
1240 | 63
1241 | 63
1242 | 63
1243 | 63
1244 | 63
1245 | 63
1246 | 63
1247 | 63
1248 | 63
1249 | 63
1250 | 63
1251 | 63
1252 | 63
1253 | 63
1254 | 63
1255 | 63
1256 | 63
1257 | 63
1258 | 63
1259 | 63
1260 | 63
1262 | 63
1263 | 63
1264 | 63
1265 | 63
1266 | 63
1267 | 63
1268 | 63
1269 | 63
1270 | 63
1272 | 63
1273 | 63
1274 | 63
1275 | 63
1276 | 63
1277 | 63
1278 | 63
1279 | 63
1280 | 63
1281 | 63
1282 | 63
1283 | 63
1284 | 63
1285 | 63
1286 | 63
1287 | 63
1288 | 63
1289 | 63
1290 | 63
1291 | 63
1292 | 63
1293 | 63
1294 | 63
1295 | 63
1296 | 63
1297 | 63
1298 | 63
1299 | 63
1300 | 63
1301 | 63
1302 | 63
1303 | 63
1304 | 63
1305 | 63
1306 | 63
1307 | 63
1308 | 63
1309 | 63
1310 | 63
1311 | 63
1312 | 63
1313 | 63
1314 | 63
1315 | 63
1316 | 63
1317 | 63
1318 | 63
1319 | 63
1320 | 63
1321 | 63
1322 | 63
1323 | 63
1324 | 63
1325 | 63
1326 | 63
1327 | 63
1328 | 63
1329 | 63
1330 | 63
1331 | 63
1332 | 63
1333 | 63
1334 | 63
1335 | 63
1336 | 63
1337 | 63
1338 | 63
1339 | 63
1340 | 63
1341 | 63
1342 | 63
1343 | 63
1344 | 63
1345 | 63
1346 | 63
1347 | 63
1348 | 63
1349 | 63
1350 | 63
1355 | 63
1356 | 63
1357 | 63
1358 | 63
1359 | 63
1360 | 63
1362 | 63
1363 | 63
1400 | 63
1401 | 63
1402 | 63
1403 | 63
1404 | 63
1405 | 63
1406 | 63
1407 | 63
1408 | 63
1409 | 63
1410 | 63
1411 | 63
1412 | 63
1413 | 63
1414 | 63
1415 | 63
1416 | 63
1417 | 63
1418 | 63
1419 | 63
1420 | 63
1421 | 63
1422 | 63
1423 | 63
1424 | 63
1425 | 63
1426 | 63
1427 | 63
1428 | 63
1429 | 63
1430 | 63
1431 | 63
1432 | 63
1433 | 63
1434 | 63
1435 | 63
1436 | 63
1437 | 63
1438 | 63
1439 | 63
1440 | 63
1441 | 63
1442 | 63
1443 | 63
1444 | 63
1445 | 63
1450 | 63
1452 | 63
1453 | 63
1454 | 63
1455 | 63
1456 | 63
1457 | 63
1458 | 63
1459 | 63
1460 | 63
1461 | 63
1462 | 63
1463 | 63
1465 | 63
1467 | 63
1468 | 63
1470 | 63
1472 | 63
1474 | 63
1475 | 63
1476 | 63
1477 | 63
1478 | 63
1479 | 63
1480 | 63
1481 | 63
1482 | 63
1484 | 63
1485 | 63
1487 | 63
1490 | 63
1493 | 63
1495 | 63
1499 | 63
1502 | 63
1503 | 63
1504 | 63
1505 | 63
1506 | 63
1507 | 63
1508 | 63
1509 | 63
1510 | 63
1511 | 63
1515 | 63
1516 | 63
1517 | 63
1544 | 63
1545 | 63
1546 | 63
1547 | 63
1549 | 63
1550 | 63
1551 | 63
1552 | 63
1553 | 63
1554 | 63
1555 | 63
1556 | 63
1557 | 63
1558 | 63
1559 | 63
1560 | 63
1565 | 63
1570 | 63
1571 | 63
1581 | 63
1582 | 63
1583 | 63
1584 | 63
1585 | 63
1586 | 63
1587 | 63
1588 | 63
1589 | 63
1590 | 63
1595 | 63
1596 | 63
1597 | 63
1598 | 63
1599 | 63
1600 | 63
1601 | 63
1602 | 63
1603 | 63
1604 | 63
1605 | 63
1606 | 63
1607 | 63
1608 | 63
1609 | 63
1610 | 63
1611 | 63
1627 | 63
1628 | 63
1629 | 63
1630 | 63
1631 | 63
1632 | 63
1633 | 63
1635 | 63
1636 | 63
1639 | 63
1640 | 63
1646 | 63
1648 | 63
1650 | 63
1651 | 63
1652 | 63
1653 | 63
1654 | 63
1655 | 63
1656 | 63
1657 | 63
1658 | 63
1659 | 63
1660 | 63
1670 | 63
1671 | 63
1672 | 63
1673 | 63
1674 | 63
1675 | 63
1676 | 63
1677 | 63
1678 | 63
1679 | 63
1680 | 63
1681 | 63
1682 | 63
1683 | 63
1684 | 63
1685 | 63
1686 | 63
1687 | 63
1688 | 63
1689 | 63
1690 | 63
1691 | 63
1692 | 63
1693 | 63
1694 | 63
1695 | 63
1696 | 63
1697 | 63
1698 | 63
1699 | 63
1700 | 63
1701 | 63
1707 | 63
1708 | 63
1709 | 63
1710 | 63
1711 | 63
1712 | 63
1713 | 63
1714 | 63
1715 | 63
1725 | 63
1726 | 63
1727 | 63
1728 | 63
1730 | 63
1738 | 63
1739 | 63
1740 | 63
1741 | 63
1742 | 63
1743 | 63
1744 | 63
1745 | 63
1746 | 63
1747 | 63
1748 | 63
1749 | 63
1750 | 63
1755 | 63
1764 | 63
1765 | 63
1771 | 63
1772 | 63
1773 | 63
1774 | 63
1775 | 63
1776 | 63
1777 | 63
1778 | 63
1779 | 63
1780 | 63
1781 | 63
1783 | 63
1784 | 63
1785 | 63
1786 | 63
1787 | 63
1788 | 63
1789 | 63
1790 | 63
1795 | 63
1796 | 63
1797 | 63
1798 | 63
1800 | 63
1801 | 63
1802 | 63
1803 | 63
1804 | 63
1805 | 63
1806 | 63
1807 | 63
1808 | 63
1809 | 63
1811 | 63
1812 | 63
1813 | 63
1814 | 63
1815 | 63
1816 | 63
1817 | 63
1818 | 63
1819 | 63
1820 | 63
1821 | 63
1822 | 63
1823 | 63
1824 | 63
1825 | 63
1826 | 63
1827 | 63
1828 | 63
1829 | 63
1830 | 63
1831 | 63
1832 | 63
1833 | 63
1834 | 63
1835 | 63
1836 | 63
1837 | 63
1838 | 63
1839 | 63
1842 | 63
1843 | 63
1844 | 63
1845 | 63
1846 | 63
1847 | 63
1848 | 63
1849 | 63
1850 | 63
1851 | 63
1852 | 63
1853 | 63
1854 | 63
1855 | 63
1856 | 63
1857 | 63
1858 | 63
1859 | 63
1860 | 63
1861 | 63
1862 | 63
1863 | 63
1864 | 63
1867 | 63
1868 | 63
1869 | 63
1870 | 63
1871 | 63
1872 | 63
1873 | 63
1874 | 63
1875 | 63
1876 | 63
1877 | 63
1878 | 63
1879 | 63
1880 | 63
1881 | 63
1882 | 63
1883 | 63
1884 | 63
1885 | 63
1886 | 63
1887 | 63
1888 | 63
1890 | 63
1891 | 63
1894 | 63
1895 | 63
1896 | 63
1897 | 63
1898 | 63
1900 | 63
1902 | 63
1903 | 63
1920 | 63
2000 | 63
2001 | 63
2004 | 63
2005 | 63
2006 | 63
2007 | 63
2008 | 63
2009 | 63
2010 | 63
2011 | 63
2012 | 63
2013 | 63
2014 | 63
2015 | 63
2016 | 63
2017 | 63
2018 | 63
2019 | 63
2020 | 63
2021 | 63
2022 | 63
2023 | 63
2024 | 63
2025 | 63
2026 | 63
2027 | 63
2028 | 63
2029 | 63
2030 | 63
2031 | 63
2032 | 63
2033 | 63
2034 | 63
2035 | 63
2036 | 63
2037 | 63
2038 | 63
2039 | 63
2040 | 63
2041 | 63
2042 | 63
2043 | 63
2044 | 63
2045 | 63
2046 | 63
2047 | 63
2048 | 63
2049 | 63
2050 | 63
2051 | 63
2052 | 63
2055 | 63
2056 | 63
2057 | 63
2058 | 63
2059 | 63
2060 | 63
2061 | 63
2062 | 63
2063 | 63
2064 | 63
2065 | 63
2066 | 63
2067 | 63
2068 | 63
2069 | 63
2070 | 63
2071 | 63
2072 | 63
2073 | 63
2074 | 63
2075 | 63
2076 | 63
2077 | 63
2079 | 63
2080 | 63
2081 | 63
2082 | 63
2083 | 63
2084 | 63
2085 | 63
2086 | 63
2087 | 63
2088 | 63
2089 | 63
2090 | 63
2091 | 63
2092 | 63
2093 | 63
2094 | 63
2095 | 63
2096 | 63
2097 | 63
2099 | 63
2100 | 63
2101 | 63
2102 | 63
2103 | 63
2104 | 63
2105 | 63
2106 | 63
2107 | 63
2108 | 63
2109 | 63
2110 | 63
2111 | 63
2112 | 63
2113 | 63
2114 | 63
2115 | 63
2116 | 63
2117 | 63
2118 | 63
2119 | 63
2120 | 63
2121 | 63
2122 | 63
2123 | 63
2124 | 63
2125 | 63
2126 | 63
2127 | 63
2128 | 63
2129 | 63
2130 | 63
2131 | 63
2132 | 63
2133 | 63
2134 | 63
2135 | 63
2136 | 63
2137 | 63
2138 | 63
2139 | 63
2140 | 63
2141 | 63
2142 | 63
2143 | 63
2144 | 63
2145 | 63
2146 | 63
2147 | 63
2148 | 63
2150 | 63
2151 | 63
2152 | 63
2153 | 63
2154 | 63
2155 | 63
2156 | 63
2157 | 63
2158 | 63
2159 | 63
2160 | 63
2161 | 63
2162 | 63
2163 | 63
2164 | 63
2165 | 63
2166 | 63
2167 | 63
2168 | 63
2169 | 63
2170 | 63
2171 | 63
2173 | 63
2174 | 63
2176 | 63
2177 | 63
2190 | 63
2191 | 63
2192 | 63
2193 | 63
2194 | 63
2195 | 63
2196 | 63
2197 | 63
2198 | 63
2199 | 63
2200 | 63
2201 | 63
2202 | 63
2203 | 63
2204 | 63
2205 | 63
2206 | 63
2207 | 63
2208 | 63
2209 | 63
2210 | 63
2211 | 63
2212 | 63
2213 | 63
2214 | 63
2215 | 63
2216 | 63
2217 | 63
2218 | 63
2219 | 63
2220 | 63
2221 | 63
2222 | 63
2223 | 63
2224 | 63
2225 | 63
2226 | 63
2227 | 63
2228 | 63
2229 | 63
2230 | 63
2231 | 63
2232 | 63
2233 | 63
2234 | 63
2250 | 61
2251 | 61
2252 | 61
2256 | 61
2257 | 61
2258 | 61
2259 | 61
2260 | 61
2261 | 61
2262 | 61
2263 | 61
2264 | 61
2265 | 61
2267 | 61
2278 | 61
2280 | 61
2281 | 61
2282 | 61
2283 | 61
2284 | 61
2285 | 61
2286 | 61
2287 | 61
2289 | 61
2290 | 61
2291 | 61
2292 | 61
2293 | 61
2294 | 61
2295 | 61
2296 | 61
2297 | 61
2298 | 61
2299 | 61
2300 | 61
2302 | 61
2303 | 61
2304 | 61
2305 | 61
2306 | 61
2307 | 61
2308 | 61
2309 | 61
2310 | 61
2311 | 61
2312 | 61
2314 | 61
2315 | 61
2316 | 61
2317 | 61
2318 | 61
2319 | 61
2320 | 61
2321 | 61
2322 | 61
2323 | 61
2324 | 61
2325 | 61
2326 | 61
2327 | 61
2328 | 61
2329 | 61
2330 | 61
2331 | 61
2333 | 61
2334 | 61
2335 | 61
2336 | 61
2337 | 61
2338 | 61
2339 | 61
2340 | 55
2341 | 55
2342 | 55
2343 | 55
2344 | 55
2345 | 55
2346 | 55
2347 | 55
2348 | 55
2350 | 59
2351 | 59
2352 | 55
2353 | 55
2354 | 59
2355 | 55
2356 | 56
2357 | 56
2358 | 59
2359 | 59
2360 | 59
2361 | 55
2365 | 59
2369 | 59
2370 | 59
2371 | 59
2372 | 59
2379 | 55
2380 | 55
2381 | 55
2382 | 55
2386 | 55
2387 | 55
2388 | 55
2390 | 55
2395 | 56
2396 | 55
2397 | 55
2398 | 55
2399 | 55
2400 | 55
2401 | 55
2402 | 55
2403 | 55
2404 | 55
2405 | 55
2406 | 55
2408 | 55
2409 | 55
2410 | 55
2411 | 55
2415 | 61
2420 | 61
2421 | 61
2422 | 60
2423 | 60
2424 | 60
2425 | 61
2426 | 60
2427 | 60
2428 | 60
2429 | 60
2430 | 60
2431 | 60
2439 | 60
2440 | 60
2441 | 60
2442 | 60
2443 | 60
2444 | 60
2445 | 60
2446 | 60
2447 | 60
2448 | 60
2449 | 60
2450 | 60
2452 | 60
2453 | 60
2454 | 60
2455 | 60
2456 | 60
2460 | 58
2462 | 58
2463 | 58
2464 | 58
2465 | 58
2466 | 58
2468 | 58
2469 | 58
2470 | 58
2471 | 58
2472 | 58
2473 | 58
2474 | 58
2475 | 59
2476 | 59
2477 | 58
2478 | 58
2479 | 58
2480 | 58
2481 | 58
2482 | 58
2483 | 58
2484 | 58
2485 | 58
2486 | 58
2487 | 58
2488 | 58
2489 | 58
2490 | 58
2500 | 65
2502 | 65
2505 | 65
2506 | 65
2508 | 65
2515 | 65
2516 | 65
2517 | 65
2518 | 65
2519 | 65
2520 | 65
2521 | 65
2522 | 65
2525 | 65
2526 | 65
2527 | 65
2528 | 65
2529 | 65
2530 | 65
2533 | 65
2534 | 65
2535 | 65
2536 | 65
2537 | 65
2538 | 65
2539 | 65
2540 | 65
2541 | 65
2545 | 65
2546 | 65
2548 | 65
2549 | 65
2550 | 65
2551 | 65
2558 | 63
2559 | 63
2560 | 63
2563 | 63
2564 | 63
2565 | 63
2566 | 63
2567 | 63
2568 | 63
2569 | 63
2570 | 63
2571 | 63
2572 | 63
2573 | 63
2574 | 63
2575 | 65
2576 | 65
2577 | 65
2578 | 65
2579 | 65
2580 | 64
2581 | 64
2582 | 64
2583 | 64
2584 | 57
2585 | 57
2586 | 57
2587 | 57
2588 | 57
2589 | 64
2590 | 57
2594 | 57
2600 | 64
2601 | 64
2602 | 64
2603 | 64
2604 | 64
2605 | 64
2606 | 64
2607 | 64
2608 | 64
2609 | 64
2610 | 64
2611 | 64
2612 | 64
2614 | 64
2615 | 64
2616 | 64
2617 | 64
2618 | 64
2619 | 64
2620 | 64
2621 | 64
2622 | 64
2623 | 64
2624 | 57
2625 | 57
2626 | 64
2627 | 64
2628 | 64
2630 | 64
2631 | 64
2632 | 64
2633 | 64
2640 | 57
2641 | 57
2642 | 57
2643 | 57
2644 | 57
2645 | 54
2646 | 54
2647 | 54
2648 | 53
2649 | 57
2650 | 57
2651 | 57
2652 | 54
2653 | 57
2655 | 54
2656 | 54
2658 | 54
2659 | 54
2660 | 54
2661 | 54
2663 | 54
2665 | 54
2666 | 57
2668 | 57
2669 | 56
2671 | 56
2672 | 54
2675 | 54
2678 | 54
2680 | 54
2681 | 54
2700 | 54
2701 | 54
2702 | 54
2703 | 54
2705 | 54
2706 | 54
2707 | 54
2708 | 54
2710 | 54
2711 | 54
2712 | 54
2713 | 54
2714 | 54
2715 | 54
2716 | 54
2717 | 53
2720 | 57
2721 | 57
2722 | 57
2725 | 57
2726 | 57
2727 | 57
2729 | 57
2730 | 57
2731 | 54
2732 | 54
2733 | 54
2734 | 54
2735 | 54
2736 | 54
2737 | 53
2738 | 53
2739 | 53
2740 | 63
2745 | 63
2746 | 63
2747 | 63
2748 | 63
2749 | 63
2750 | 63
2751 | 63
2752 | 63
2753 | 63
2754 | 63
2755 | 63
2756 | 63
2757 | 63
2758 | 63
2759 | 63
2760 | 63
2761 | 63
2762 | 63
2763 | 63
2764 | 63
2765 | 63
2766 | 63
2767 | 63
2768 | 63
2770 | 63
2773 | 63
2774 | 63
2775 | 63
2776 | 63
2777 | 63
2778 | 63
2779 | 63
2780 | 63
2781 | 63
2782 | 63
2783 | 63
2784 | 63
2785 | 63
2786 | 63
2787 | 62
2790 | 62
2791 | 62
2792 | 62
2793 | 62
2794 | 62
2795 | 62
2796 | 62
2797 | 62
2798 | 62
2799 | 62
2800 | 62
2803 | 56
2804 | 62
2805 | 62
2806 | 56
2807 | 56
2808 | 62
2809 | 56
2810 | 56
2820 | 56
2821 | 56
2823 | 56
2824 | 56
2825 | 56
2826 | 56
2827 | 56
2828 | 56
2829 | 56
2830 | 56
2831 | 56
2832 | 55
2833 | 55
2834 | 52
2835 | 52
2836 | 52
2839 | 52
2840 | 52
2842 | 56
2843 | 56
2844 | 56
2845 | 62
2846 | 62
2847 | 62
2848 | 62
2849 | 62
2850 | 62
2852 | 62
2864 | 56
2865 | 56
2866 | 62
2867 | 62
2868 | 56
2869 | 56
2870 | 56
2871 | 56
2873 | 56
2874 | 56
2875 | 56
2876 | 56
2877 | 56
2878 | 52
2879 | 53
2880 | 53
2890 | 63
2891 | 63
2898 | 63
2899 | 63
2900 | 64
2901 | 64
2902 | 64
2903 | 64
2904 | 64
2905 | 64
2906 | 64
2911 | 64
2912 | 64
2913 | 64
2914 | 64
3000 | 18
3001 | 18
3002 | 18
3003 | 18
3004 | 18
3005 | 18
3006 | 18
3008 | 18
3010 | 18
3011 | 18
3012 | 18
3013 | 18
3015 | 18
3016 | 18
3018 | 18
3019 | 18
3020 | 18
3021 | 18
3022 | 18
3023 | 18
3024 | 18
3025 | 18
3026 | 18
3028 | 18
3029 | 18
3030 | 18
3031 | 18
3032 | 18
3033 | 18
3034 | 18
3036 | 18
3037 | 18
3038 | 18
3039 | 18
3040 | 18
3041 | 18
3042 | 18
3043 | 18
3044 | 18
3045 | 18
3046 | 18
3047 | 18
3048 | 18
3049 | 18
3050 | 18
3051 | 18
3052 | 18
3053 | 18
3054 | 18
3055 | 18
3056 | 18
3057 | 18
3058 | 18
3059 | 18
3060 | 18
3061 | 18
3062 | 18
3063 | 18
3064 | 18
3065 | 18
3066 | 18
3067 | 18
3068 | 18
3070 | 18
3071 | 18
3072 | 18
3073 | 18
3074 | 18
3075 | 18
3076 | 18
3078 | 18
3079 | 18
3081 | 18
3082 | 18
3083 | 18
3084 | 18
3085 | 18
3086 | 18
3087 | 18
3088 | 18
3089 | 18
3090 | 18
3091 | 18
3093 | 18
3094 | 18
3095 | 18
3096 | 18
3097 | 18
3099 | 18
3101 | 18
3102 | 18
3103 | 18
3104 | 18
3105 | 18
3106 | 18
3107 | 18
3108 | 18
3109 | 18
3110 | 18
3111 | 18
3113 | 18
3114 | 18
3115 | 18
3116 | 18
3121 | 18
3122 | 18
3123 | 18
3124 | 18
3125 | 18
3126 | 18
3127 | 18
3128 | 18
3129 | 18
3130 | 18
3131 | 18
3132 | 18
3133 | 18
3134 | 18
3135 | 18
3136 | 18
3137 | 18
3138 | 18
3139 | 18
3140 | 18
3141 | 18
3142 | 18
3143 | 18
3144 | 18
3145 | 18
3146 | 18
3147 | 18
3148 | 18
3149 | 18
3150 | 18
3151 | 18
3152 | 18
3153 | 18
3154 | 18
3155 | 18
3156 | 18
3158 | 18
3159 | 18
3160 | 18
3161 | 18
3162 | 18
3163 | 18
3164 | 18
3165 | 18
3166 | 18
3167 | 18
3168 | 18
3169 | 18
3170 | 18
3171 | 18
3172 | 18
3173 | 18
3174 | 18
3175 | 18
3176 | 18
3177 | 18
3178 | 18
3179 | 18
3180 | 18
3181 | 18
3182 | 18
3183 | 18
3184 | 18
3185 | 18
3186 | 18
3187 | 18
3188 | 18
3189 | 18
3190 | 18
3191 | 18
3192 | 18
3193 | 18
3194 | 18
3195 | 18
3196 | 18
3197 | 18
3198 | 18
3199 | 18
3200 | 18
3201 | 18
3202 | 18
3204 | 18
3205 | 18
3206 | 18
3207 | 18
3211 | 18
3212 | 18
3214 | 18
3215 | 18
3216 | 18
3217 | 18
3218 | 18
3219 | 18
3220 | 18
3221 | 18
3222 | 18
3223 | 18
3224 | 18
3225 | 18
3226 | 18
3227 | 18
3228 | 18
3230 | 18
3231 | 18
3232 | 15
3233 | 15
3235 | 15
3236 | 15
3237 | 15
3238 | 15
3239 | 15
3240 | 18
3241 | 18
3242 | 15
3243 | 15
3249 | 15
3250 | 15
3251 | 15
3254 | 15
3260 | 15
3264 | 15
3265 | 15
3266 | 15
3267 | 15
3268 | 15
3269 | 15
3270 | 15
3271 | 15
3272 | 15
3273 | 15
3274 | 15
3275 | 15
3276 | 15
3277 | 15
3278 | 15
3279 | 15
3280 | 15
3281 | 15
3282 | 15
3283 | 15
3284 | 15
3285 | 15
3286 | 15
3287 | 15
3289 | 15
3292 | 15
3293 | 15
3294 | 15
3300 | 15
3301 | 15
3302 | 15
3303 | 15
3304 | 15
3305 | 15
3309 | 15
3310 | 15
3311 | 15
3312 | 15
3314 | 15
3315 | 15
3317 | 14
3318 | 14
3319 | 14
3321 | 18
3322 | 15
3323 | 18
3324 | 15
3325 | 15
3328 | 18
3329 | 18
3330 | 18
3331 | 18
3332 | 18
3333 | 18
3334 | 18
3335 | 18
3337 | 18
3338 | 18
3340 | 18
3341 | 18
3342 | 18
3345 | 18
3350 | 15
3351 | 15
3352 | 15
3353 | 15
3354 | 15
3355 | 15
3356 | 15
3357 | 15
3360 | 15
3361 | 15
3363 | 17
3364 | 17
3370 | 17
3371 | 17
3373 | 16
3375 | 14
3377 | 14
3378 | 14
3379 | 15
3380 | 14
3381 | 14
3384 | 14
3385 | 14
3387 | 14
3388 | 14
3390 | 14
3391 | 14
3392 | 14
3393 | 14
3395 | 13
3396 | 13
3399 | 14
3400 | 14
3401 | 14
3402 | 14
3407 | 15
3409 | 14
3412 | 14
3413 | 14
3414 | 14
3415 | 14
3418 | 14
3419 | 14
3420 | 14
3422 | 13
3423 | 14
3424 | 13
3427 | 18
3428 | 18
3429 | 18
3430 | 18
3431 | 17
3432 | 17
3433 | 17
3434 | 17
3435 | 17
3437 | 17
3438 | 17
3440 | 17
3441 | 17
3442 | 17
3444 | 17
3446 | 17
3447 | 17
3448 | 17
3450 | 17
3451 | 17
3453 | 17
3458 | 17
3460 | 17
3461 | 17
3462 | 17
3463 | 17
3464 | 17
3465 | 17
3467 | 17
3468 | 16
3469 | 14
3472 | 16
3475 | 16
3478 | 14
3480 | 14
3482 | 14
3483 | 13
3485 | 13
3487 | 13
3488 | 13
3489 | 13
3490 | 13
3491 | 13
3494 | 13
3496 | 13
3498 | 13
3500 | 13
3501 | 13
3502 | 13
3505 | 13
3506 | 13
3507 | 13
3509 | 13
3512 | 13
3515 | 16
3516 | 16
3517 | 16
3518 | 16
3520 | 16
3521 | 17
3522 | 17
3523 | 17
3525 | 17
3527 | 14
3529 | 13
3530 | 13
3531 | 13
3533 | 13
3537 | 13
3540 | 13
3542 | 13
3544 | 13
3546 | 13
3549 | 13
3550 | 16
3551 | 16
3552 | 16
3554 | 16
3555 | 16
3556 | 16
3557 | 16
3558 | 16
3559 | 16
3561 | 16
3562 | 16
3563 | 16
3564 | 16
3565 | 16
3566 | 16
3567 | 16
3568 | 16
3570 | 16
3571 | 16
3572 | 16
3573 | 16
3575 | 16
3576 | 16
3578 | 16
3579 | 16
3580 | 16
3581 | 13
3583 | 13
3584 | 13
3585 | 13
3586 | 13
3588 | 13
3589 | 13
3590 | 13
3591 | 13
3594 | 13
3595 | 13
3596 | 16
3597 | 13
3599 | 13
3607 | 17
3608 | 16
3610 | 16
3612 | 16
3614 | 16
3616 | 16
3617 | 16
3618 | 16
3619 | 16
3620 | 16
3621 | 16
3622 | 16
3623 | 16
3624 | 16
3629 | 16
3630 | 16
3631 | 16
3632 | 16
3633 | 16
3634 | 16
3635 | 16
3636 | 16
3637 | 16
3638 | 16
3639 | 16
3640 | 16
3641 | 16
3643 | 16
3644 | 16
3646 | 16
3647 | 16
3649 | 16
3658 | 17
3659 | 17
3660 | 17
3661 | 17
3662 | 17
3663 | 17
3664 | 17
3665 | 16
3666 | 16
3669 | 16
3670 | 19
3671 | 19
3672 | 19
3673 | 19
3675 | 19
3676 | 19
3677 | 19
3678 | 19
3682 | 19
3683 | 19
3685 | 19
3687 | 19
3688 | 19
3689 | 19
3690 | 19
3691 | 19
3693 | 19
3694 | 19
3695 | 19
3697 | 19
3698 | 19
3699 | 19
3700 | 19
3701 | 19
3704 | 19
3705 | 19
3707 | 19
3708 | 19
3709 | 19
3711 | 17
3712 | 17
3713 | 17
3714 | 17
3715 | 17
3717 | 17
3718 | 17
3719 | 17
3720 | 17
3722 | 19
3723 | 19
3724 | 19
3725 | 16
3726 | 16
3727 | 16
3728 | 16
3730 | 16
3732 | 19
3733 | 19
3735 | 19
3736 | 19
3737 | 19
3738 | 19
3739 | 19
3740 | 19
3741 | 19
3744 | 19
3746 | 19
3747 | 19
3749 | 19
3750 | 18
3751 | 17
3752 | 18
3753 | 17
3754 | 18
3755 | 18
3756 | 17
3757 | 17
3758 | 17
3759 | 18
3760 | 18
3761 | 18
3762 | 18
3763 | 18
3764 | 17
3765 | 18
3766 | 18
3767 | 18
3770 | 18
3775 | 18
3777 | 18
3778 | 18
3779 | 18
3781 | 18
3782 | 18
3783 | 18
3785 | 18
3786 | 18
3787 | 18
3788 | 18
3789 | 18
3791 | 18
3792 | 18
3793 | 18
3795 | 18
3796 | 18
3797 | 18
3799 | 18
3800 | 18
3802 | 18
3803 | 18
3804 | 18
3805 | 18
3806 | 18
3807 | 18
3808 | 18
3809 | 18
3810 | 18
3812 | 18
3813 | 18
3814 | 18
3815 | 18
3816 | 18
3818 | 18
3820 | 20
3821 | 20
3822 | 20
3823 | 20
3824 | 20
3825 | 20
3831 | 20
3833 | 20
3835 | 20
3840 | 20
3841 | 20
3842 | 20
3844 | 20
3847 | 20
3850 | 20
3851 | 20
3852 | 20
3853 | 20
3854 | 20
3856 | 20
3857 | 20
3858 | 20
3859 | 20
3860 | 20
3862 | 21
3864 | 20
3865 | 21
3869 | 20
3870 | 20
3871 | 20
3873 | 20
3874 | 20
3875 | 21
3878 | 21
3880 | 21
3882 | 21
3885 | 21
3886 | 21
3887 | 21
3888 | 21
3889 | 21
3890 | 21
3891 | 21
3892 | 21
3893 | 21
3895 | 21
3896 | 21
3898 | 19
3900 | 19
3902 | 21
3903 | 21
3904 | 21
3909 | 21
3910 | 18
3911 | 18
3912 | 18
3913 | 18
3915 | 18
3916 | 18
3918 | 18
3919 | 18
3920 | 18
3921 | 18
3922 | 18
3923 | 18
3925 | 18
3926 | 18
3927 | 18
3928 | 18
3929 | 18
3930 | 18
3931 | 18
3933 | 18
3934 | 18
3936 | 18
3937 | 18
3938 | 18
3939 | 18
3940 | 18
3941 | 18
3942 | 18
3943 | 18
3944 | 18
3945 | 18
3946 | 18
3950 | 18
3951 | 18
3953 | 20
3954 | 20
3956 | 20
3957 | 20
3958 | 20
3959 | 20
3960 | 20
3962 | 20
3964 | 20
3965 | 20
3966 | 20
3967 | 20
3971 | 20
3975 | 18
3976 | 18
3977 | 18
3978 | 18
3979 | 18
3980 | 18
3981 | 18
3984 | 18
3987 | 18
3988 | 18
3989 | 18
3990 | 18
3991 | 18
3992 | 18
3995 | 18
3996 | 18
4000 | 51
4001 | 51
4002 | 51
4003 | 51
4004 | 51
4005 | 51
4006 | 51
4007 | 51
4008 | 51
4009 | 51
4010 | 51
4011 | 51
4012 | 51
4013 | 51
4014 | 51
4017 | 51
4018 | 51
4019 | 51
4020 | 51
4021 | 51
4022 | 51
4025 | 51
4029 | 51
4030 | 51
4031 | 51
4032 | 51
4034 | 51
4035 | 51
4036 | 51
4037 | 51
4051 | 51
4052 | 51
4053 | 51
4054 | 51
4055 | 51
4059 | 51
4060 | 51
4061 | 51
4064 | 51
4065 | 51
4066 | 51
4067 | 51
4068 | 51
4069 | 51
4070 | 51
4072 | 51
4073 | 51
4074 | 51
4075 | 51
4076 | 51
4077 | 51
4078 | 51
4101 | 51
4102 | 51
4103 | 51
4104 | 51
4105 | 51
4106 | 51
4107 | 51
4108 | 51
4109 | 51
4110 | 51
4111 | 51
4112 | 51
4113 | 51
4114 | 51
4115 | 51
4116 | 51
4117 | 51
4118 | 51
4119 | 51
4120 | 51
4121 | 51
4122 | 51
4123 | 51
4124 | 51
4125 | 51
4127 | 51
4128 | 51
4129 | 51
4130 | 51
4131 | 51
4132 | 51
4133 | 51
4151 | 51
4152 | 51
4153 | 51
4154 | 51
4155 | 51
4156 | 51
4157 | 51
4158 | 51
4159 | 51
4160 | 51
4161 | 51
4163 | 51
4164 | 51
4165 | 51
4169 | 51
4170 | 51
4171 | 51
4172 | 51
4173 | 51
4174 | 51
4178 | 51
4179 | 51
4183 | 51
4184 | 51
4205 | 51
4207 | 51
4208 | 51
4209 | 51
4210 | 51
4211 | 51
4212 | 51
4213 | 51
4214 | 51
4215 | 51
4216 | 51
4217 | 51
4218 | 51
4219 | 51
4220 | 51
4221 | 51
4223 | 51
4224 | 51
4225 | 51
4226 | 51
4227 | 51
4228 | 51
4229 | 51
4230 | 51
4270 | 51
4271 | 51
4272 | 51
4275 | 51
4280 | 51
4285 | 51
4287 | 51
4300 | 51
4301 | 51
4303 | 51
4304 | 51
4305 | 51
4306 | 51
4307 | 51
4309 | 51
4310 | 51
4311 | 51
4312 | 51
4313 | 51
4340 | 51
4341 | 51
4342 | 51
4343 | 51
4344 | 51
4345 | 51
4346 | 51
4347 | 51
4350 | 49
4352 | 49
4354 | 49
4355 | 49
4356 | 49
4357 | 49
4358 | 49
4359 | 49
4360 | 49
4361 | 49
4362 | 49
4370 | 49
4371 | 49
4372 | 49
4373 | 49
4374 | 49
4375 | 49
4376 | 49
4377 | 49
4378 | 49
4380 | 49
4381 | 49
4382 | 49
4383 | 49
4384 | 49
4385 | 49
4387 | 49
4388 | 49
4390 | 49
4400 | 49
4401 | 49
4402 | 49
4403 | 49
4404 | 49
4405 | 49
4406 | 49
4407 | 49
4408 | 49
4410 | 49
4411 | 49
4412 | 49
4413 | 49
4415 | 49
4416 | 49
4417 | 48
4418 | 44
4419 | 44
4420 | 44
4421 | 49
4422 | 48
4423 | 48
4424 | 48
4425 | 48
4426 | 48
4427 | 48
4428 | 48
4454 | 48
4455 | 48
4461 | 48
4462 | 48
4465 | 48
4467 | 48
4468 | 48
4470 | 48
4471 | 48
4472 | 45
4474 | 47
4475 | 48
4477 | 45
4478 | 45
4479 | 48
4480 | 47
4481 | 47
4482 | 47
4486 | 48
4487 | 48
4488 | 48
4489 | 48
4490 | 48
4491 | 48
4492 | 47
4493 | 48
4494 | 49
4496 | 49
4497 | 49
4498 | 49
4500 | 51
4501 | 51
4502 | 51
4503 | 51
4504 | 51
4505 | 51
4506 | 51
4507 | 51
4508 | 51
4509 | 51
4510 | 51
4511 | 51
4512 | 51
4514 | 51
4515 | 51
4516 | 51
4517 | 51
4518 | 51
4519 | 51
4520 | 51
4521 | 51
4550 | 51
4551 | 51
4552 | 51
4553 | 51
4554 | 51
4555 | 51
4556 | 51
4557 | 51
4558 | 51
4559 | 51
4560 | 51
4561 | 51
4562 | 51
4563 | 51
4564 | 51
4565 | 51
4566 | 51
4567 | 51
4568 | 51
4569 | 51
4570 | 50
4571 | 51
4572 | 51
4573 | 51
4574 | 51
4575 | 51
4580 | 50
4581 | 50
4600 | 50
4601 | 50
4605 | 50
4606 | 50
4608 | 50
4610 | 50
4611 | 50
4612 | 50
4613 | 50
4614 | 50
4615 | 50
4620 | 50
4621 | 50
4625 | 50
4626 | 50
4627 | 50
4630 | 50
4650 | 50
4655 | 50
4659 | 50
4660 | 50
4662 | 50
4670 | 50
4671 | 50
4673 | 50
4674 | 50
4676 | 50
4677 | 43
4678 | 43
4680 | 43
4694 | 43
4695 | 43
4697 | 43
4699 | 43
4700 | 43
4701 | 43
4702 | 43
4703 | 43
4704 | 43
4705 | 43
4706 | 43
4707 | 43
4709 | 43
4714 | 43
4715 | 43
4716 | 43
4717 | 44
4718 | 43
4719 | 43
4720 | 44
4721 | 44
4722 | 44
4724 | 45
4725 | 45
4726 | 45
4727 | 45
4730 | 45
4731 | 45
4732 | 45
4733 | 45
4735 | 45
4736 | 47
4737 | 42
4738 | 42
4739 | 42
4740 | 42
4741 | 42
4742 | 42
4743 | 42
4744 | 44
4745 | 44
4746 | 44
4750 | 44
4751 | 42
4753 | 42
4754 | 42
4756 | 42
4757 | 42
4798 | 42
4799 | 42
4800 | 42
4801 | 42
4802 | 42
4803 | 42
4804 | 42
4805 | 42
4806 | 41
4807 | 41
4808 | 41
4809 | 41
4810 | 41
4811 | 41
4812 | 41
4813 | 41
4814 | 41
4815 | 41
4816 | 41
4817 | 41
4818 | 41
4819 | 41
4820 | 38
4821 | 38
4822 | 38
4823 | 46
4824 | 46
4825 | 46
4828 | 46
4829 | 47
4830 | 46
4849 | 39
4850 | 39
4852 | 39
4854 | 39
4855 | 39
4856 | 39
4857 | 39
4858 | 39
4859 | 39
4860 | 39
4861 | 39
4865 | 39
4868 | 39
4869 | 39
4870 | 39
4871 | 39
4872 | 39
4873 | 39
4874 | 36
4875 | 36
4876 | 36
4878 | 39
4879 | 39
4880 | 39
4882 | 39
4883 | 39
4885 | 39
4886 | 39
4890 | 39
4891 | 39
5000 | 33
5001 | 33
5005 | 33
5006 | 33
5007 | 33
5008 | 33
5009 | 33
5010 | 33
5011 | 33
5012 | 33
5013 | 33
5014 | 33
5015 | 33
5016 | 33
5017 | 33
5018 | 33
5019 | 33
5020 | 33
5021 | 33
5022 | 33
5023 | 33
5024 | 33
5025 | 33
5031 | 33
5032 | 33
5033 | 33
5034 | 33
5035 | 33
5037 | 33
5038 | 33
5039 | 33
5040 | 33
5041 | 33
5042 | 33
5043 | 33
5044 | 33
5045 | 33
5046 | 33
5047 | 33
5048 | 33
5049 | 33
5050 | 33
5051 | 33
5052 | 33
5061 | 33
5062 | 33
5063 | 33
5064 | 33
5065 | 33
5066 | 33
5067 | 33
5068 | 33
5069 | 33
5070 | 33
5071 | 33
5072 | 33
5073 | 33
5074 | 33
5075 | 33
5076 | 33
5081 | 33
5082 | 33
5083 | 33
5084 | 33
5085 | 33
5086 | 33
5087 | 33
5088 | 33
5089 | 33
5090 | 33
5091 | 33
5092 | 33
5093 | 33
5094 | 33
5095 | 33
5096 | 33
5097 | 33
5098 | 33
5106 | 33
5107 | 33
5108 | 33
5109 | 33
5110 | 33
5111 | 33
5112 | 33
5113 | 33
5114 | 33
5115 | 33
5116 | 33
5117 | 33
5118 | 33
5120 | 33
5121 | 33
5125 | 33
5126 | 33
5127 | 33
5131 | 33
5132 | 33
5133 | 33
5134 | 33
5136 | 33
5137 | 33
5138 | 33
5139 | 33
5140 | 33
5141 | 33
5142 | 33
5144 | 33
5150 | 33
5151 | 33
5152 | 33
5153 | 33
5154 | 33
5155 | 33
5156 | 33
5157 | 33
5158 | 33
5159 | 33
5160 | 33
5161 | 33
5162 | 33
5163 | 33
5164 | 33
5165 | 33
5166 | 33
5167 | 33
5168 | 33
5169 | 33
5170 | 33
5171 | 33
5172 | 33
5173 | 33
5174 | 33
5201 | 33
5202 | 33
5203 | 33
5204 | 33
5210 | 33
5211 | 33
5212 | 33
5213 | 33
5214 | 33
5220 | 33
5221 | 33
5222 | 33
5223 | 33
5231 | 33
5232 | 33
5233 | 33
5234 | 33
5235 | 33
5236 | 33
5237 | 33
5238 | 33
5240 | 33
5241 | 33
5242 | 33
5243 | 33
5244 | 33
5245 | 33
5250 | 33
5251 | 33
5252 | 33
5253 | 33
5254 | 33
5255 | 33
5256 | 33
5259 | 34
5260 | 34
5261 | 34
5262 | 35
5263 | 35
5264 | 34
5265 | 34
5266 | 34
5267 | 35
5268 | 35
5269 | 35
5270 | 35
5271 | 35
5272 | 35
5273 | 35
5275 | 35
5276 | 35
5277 | 35
5278 | 35
5279 | 35
5280 | 35
5290 | 35
5291 | 35
5301 | 34
5302 | 34
5303 | 33
5304 | 34
5306 | 34
5307 | 34
5308 | 34
5309 | 34
5310 | 34
5311 | 34
5312 | 34
5320 | 34
5321 | 34
5322 | 34
5330 | 34
5331 | 34
5332 | 34
5333 | 34
5340 | 34
5341 | 34
5342 | 34
5343 | 34
5344 | 34
5345 | 34
5346 | 34
5350 | 33
5351 | 33
5352 | 33
5353 | 33
5354 | 34
5355 | 33
5356 | 34
5357 | 34
5360 | 33
5371 | 33
5372 | 33
5373 | 32
5374 | 32
5381 | 32
5400 | 32
5401 | 32
5410 | 32
5411 | 32
5412 | 32
5413 | 32
5414 | 32
5415 | 32
5416 | 32
5417 | 32
5418 | 32
5419 | 32
5420 | 32
5421 | 32
5422 | 32
5430 | 32
5431 | 32
5432 | 32
5433 | 32
5434 | 32
5440 | 32
5451 | 32
5452 | 32
5453 | 32
5454 | 32
5455 | 32
5460 | 32
5461 | 32
5462 | 32
5464 | 32
5470 | 32
5471 | 32
5472 | 32
5473 | 32
5480 | 32
5481 | 32
5482 | 32
5483 | 32
5485 | 32
5490 | 32
5491 | 32
5493 | 32
5495 | 32
5501 | 33
5502 | 32
5510 | 32
5520 | 32
5521 | 32
5522 | 32
5523 | 32
5540 | 32
5550 | 32
5552 | 33
5554 | 33
5555 | 33
5556 | 33
5558 | 33
5560 | 32
5570 | 33
5571 | 33
5572 | 33
5573 | 33
5575 | 33
5576 | 33
5577 | 33
5580 | 33
5581 | 33
5582 | 33
5583 | 33
5600 | 29
5601 | 29
5602 | 29
5603 | 29
5604 | 29
5605 | 29
5606 | 29
5607 | 29
5608 | 29
5609 | 29
5630 | 29
5631 | 29
5632 | 29
5633 | 29
5640 | 29
5641 | 29
5642 | 29
5650 | 29
5651 | 29
5652 | 29
5653 | 29
5654 | 29
5655 | 29
5660 | 29
5661 | 29
5670 | 29
5671 | 29
5680 | 29
5690 | 29
5700 | 32
5710 | 32
5720 | 30
5722 | 30
5723 | 30
5724 | 30
5725 | 30
5730 | 31
5731 | 31
5732 | 31
5733 | 31
5734 | 31
5800 | 33
5810 | 33
5839 | 33
5880 | 33
5881 | 33
5882 | 33
5883 | 33
5884 | 33
5885 | 33
5886 | 33
5887 | 33
5888 | 33
5889 | 33
5942 | 33
5950 | 33
6000 | 7
6001 | 7
6003 | 7
6004 | 7
6005 | 7
6006 | 7
6007 | 7
6008 | 7
6009 | 7
6010 | 7
6011 | 7
6012 | 7
6014 | 7
6015 | 7
6016 | 7
6017 | 7
6018 | 7
6019 | 7
6020 | 7
6021 | 7
6022 | 7
6023 | 7
6024 | 7
6025 | 7
6026 | 7
6027 | 7
6028 | 7
6029 | 7
6030 | 7
6031 | 7
6032 | 7
6033 | 7
6034 | 7
6035 | 7
6036 | 7
6037 | 7
6038 | 7
6041 | 7
6042 | 7
6043 | 7
6044 | 7
6050 | 7
6051 | 7
6052 | 7
6053 | 7
6054 | 7
6055 | 7
6056 | 7
6057 | 7
6058 | 7
6059 | 7
6060 | 7
6061 | 7
6062 | 7
6063 | 7
6064 | 7
6065 | 7
6066 | 7
6067 | 7
6068 | 7
6069 | 7
6070 | 7
6071 | 7
6072 | 7
6073 | 7
6074 | 7
6076 | 7
6081 | 7
6082 | 7
6083 | 7
6084 | 7
6090 | 7
6100 | 7
6101 | 7
6102 | 7
6103 | 7
6104 | 7
6105 | 7
6106 | 7
6107 | 7
6108 | 7
6109 | 7
6110 | 7
6111 | 7
6112 | 7
6121 | 7
6122 | 7
6123 | 7
6124 | 7
6125 | 7
6126 | 7
6147 | 7
6148 | 7
6149 | 7
6150 | 7
6151 | 7
6152 | 7
6153 | 7
6154 | 7
6155 | 7
6156 | 7
6157 | 7
6158 | 7
6159 | 7
6160 | 7
6161 | 7
6162 | 7
6163 | 7
6164 | 7
6165 | 7
6166 | 7
6167 | 7
6168 | 7
6169 | 7
6170 | 7
6171 | 7
6172 | 7
6173 | 7
6174 | 7
6175 | 7
6176 | 7
6207 | 7
6208 | 7
6210 | 7
6213 | 7
6214 | 7
6215 | 7
6218 | 7
6220 | 7
6221 | 7
6223 | 7
6224 | 7
6225 | 7
6226 | 9
6227 | 9
6228 | 9
6229 | 9
6230 | 9
6231 | 9
6232 | 9
6233 | 9
6236 | 9
6237 | 9
6239 | 9
6240 | 9
6243 | 9
6244 | 9
6251 | 9
6252 | 9
6253 | 9
6254 | 9
6255 | 9
6256 | 9
6258 | 9
6260 | 9
6262 | 9
6271 | 9
6275 | 9
6280 | 9
6281 | 9
6282 | 9
6284 | 9
6285 | 9
6286 | 9
6288 | 9
6290 | 9
6302 | 7
6304 | 7
6306 | 7
6308 | 7
6309 | 8
6311 | 8
6312 | 8
6313 | 8
6315 | 8
6316 | 8
6317 | 8
6318 | 8
6320 | 8
6321 | 10
6322 | 10
6323 | 10
6324 | 10
6326 | 10
6327 | 10
6328 | 10
6330 | 10
6331 | 10
6332 | 10
6333 | 9
6335 | 8
6336 | 8
6337 | 8
6338 | 8
6341 | 8
6343 | 8
6346 | 10
6348 | 10
6350 | 8
6351 | 8
6352 | 8
6353 | 8
6355 | 8
6356 | 8
6357 | 8
6358 | 8
6359 | 8
6361 | 8
6363 | 8
6365 | 8
6367 | 8
6368 | 6
6369 | 6
6370 | 8
6372 | 8
6373 | 8
6375 | 8
6376 | 8
6380 | 6
6383 | 6
6384 | 6
6385 | 6
6386 | 6
6390 | 7
6391 | 7
6392 | 7
6393 | 7
6394 | 9
6395 | 9
6396 | 10
6397 | 10
6398 | 9
6401 | 7
6403 | 7
6405 | 7
6407 | 6
6409 | 7
6410 | 6
6411 | 6
6412 | 6
6413 | 6
6414 | 6
6415 | 6
6417 | 6
6418 | 6
6419 | 6
6420 | 6
6421 | 6
6422 | 6
6423 | 6
6424 | 6
6425 | 6
6426 | 6
6427 | 6
6428 | 6
6429 | 11
6430 | 11
6431 | 11
6432 | 11
6433 | 11
6434 | 11
6435 | 11
6436 | 11
6437 | 11
6438 | 11
6439 | 11
6440 | 11
6442 | 11
6443 | 11
6444 | 11
6445 | 10
6446 | 10
6447 | 10
6448 | 10
6450 | 10
6460 | 7
6461 | 7
6462 | 7
6463 | 6
6464 | 7
6465 | 7
6466 | 7
6467 | 7
6468 | 7
6470 | 7
6472 | 7
6473 | 6
6475 | 6
6476 | 6
6477 | 6
6479 | 6
6480 | 6
6484 | 11
6485 | 6
6487 | 6
6488 | 6
6489 | 6
6490 | 6
6501 | 7
6502 | 5
6503 | 7
6504 | 5
6505 | 5
6506 | 5
6507 | 5
6509 | 5
6510 | 5
6511 | 5
6512 | 5
6513 | 5
6514 | 5
6515 | 5
6516 | 5
6517 | 5
6518 | 5
6519 | 5
6521 | 5
6522 | 5
6525 | 5
6528 | 5
6530 | 5
6531 | 5
6532 | 5
6535 | 5
6536 | 5
6537 | 3
6556 | 7
6558 | 7
6560 | 7
6562 | 7
6564 | 7
6566 | 7
6567 | 7
6568 | 7
6569 | 7
6571 | 7
6572 | 7
6574 | 5
6575 | 5
6603 | 5
6605 | 5
6606 | 5
6608 | 5
6609 | 5
6612 | 5
6613 | 5
6614 | 5
6616 | 5
6618 | 5
6620 | 5
6623 | 5
6625 | 5
6627 | 5
6628 | 5
6630 | 5
6631 | 5
6632 | 5
6635 | 5
6638 | 3
6639 | 3
6640 | 3
6642 | 3
6646 | 11
6701 | 3
6705 | 3
6707 | 2
6710 | 2
6711 | 2
6712 | 2
6713 | 2
6714 | 2
6715 | 2
6716 | 2
6718 | 2
6720 | 2
6721 | 2
6722 | 2
6723 | 2
6725 | 1
6726 | 1
6728 | 1
6731 | 1
6733 | 1
6740 | 1
6743 | 1
6751 | 2
6753 | 2
6754 | 2
6758 | 2
6760 | 2
6761 | 2
6762 | 2
6765 | 1
6770 | 1
6798 | 1
6799 | 1
6803 | 7
6809 | 7
6812 | 7
6817 | 7
6820 | 7
6824 | 7
6825 | 7
6826 | 7
6827 | 7
6828 | 7
6829 | 7
6830 | 7
6831 | 7
6832 | 7
6833 | 7
6834 | 7
6836 | 7
6837 | 7
6838 | 7
6839 | 7
6840 | 7
6841 | 7
6842 | 7
6843 | 7
6844 | 7
6845 | 7
6846 | 7
6847 | 7
6848 | 7
6849 | 7
6850 | 7
6851 | 7
6865 | 7
6872 | 7
6873 | 7
6892 | 7
6893 | 7
6900 | 7
6901 | 7
6902 | 7
6903 | 7
6904 | 7
6905 | 7
6906 | 7
6907 | 7
6909 | 7
6910 | 7
6911 | 7
6912 | 7
6913 | 7
6914 | 7
6915 | 7
6916 | 7
6917 | 7
6918 | 7
6919 | 7
6920 | 7
6921 | 7
6922 | 7
6923 | 7
6924 | 7
6925 | 7
6926 | 7
6927 | 7
6928 | 7
6929 | 7
6931 | 7
6932 | 7
6933 | 7
6934 | 7
6935 | 7
6936 | 7
6937 | 7
6938 | 7
6939 | 7
6940 | 7
6941 | 7
6942 | 7
6943 | 7
6944 | 7
6945 | 7
6946 | 7
6947 | 7
6951 | 7
6952 | 7
6953 | 7
6954 | 7
6955 | 7
6956 | 7
6957 | 7
6958 | 7
6959 | 7
6960 | 7
6961 | 7
6962 | 7
6963 | 7
6964 | 7
6965 | 7
6966 | 7
6967 | 7
6968 | 7
6969 | 7
6970 | 7
6971 | 7
6979 | 7
6980 | 7
6981 | 7
6982 | 7
6983 | 7
6984 | 7
6985 | 7
6986 | 7
6987 | 7
6988 | 7
6989 | 7
6990 | 7
6991 | 7
6992 | 7
6997 | 7
7000 | 26
7001 | 26
7002 | 26
7004 | 26
7005 | 26
7006 | 26
7007 | 26
7008 | 26
7009 | 26
7010 | 26
7011 | 26
7012 | 26
7015 | 26
7016 | 26
7017 | 26
7018 | 26
7019 | 26
7020 | 26
7021 | 26
7022 | 26
7023 | 26
7024 | 26
7025 | 26
7026 | 26
7027 | 26
7030 | 26
7050 | 26
7051 | 26
7052 | 26
7053 | 26
7054 | 26
7055 | 26
7109 | 26
7112 | 26
7113 | 26
7116 | 26
7117 | 26
7119 | 25
7120 | 25
7139 | 23
7140 | 26
7150 | 26
7151 | 26
7155 | 26
7162 | 26
7163 | 26
7170 | 26
7171 | 26
7172 | 26
7173 | 26
7174 | 26
7175 | 26
7176 | 26
7177 | 26
7178 | 26
7179 | 26
7180 | 26
7182 | 26
7183 | 26
7184 | 26
7185 | 26
7186 | 26
7187 | 26
7190 | 28
7209 | 25
7210 | 25
7211 | 25
7212 | 25
7213 | 28
7214 | 28
7215 | 28
7216 | 27
7248 | 25
7249 | 25
7250 | 25
7252 | 25
7253 | 25
7254 | 25
7255 | 27
7256 | 22
7257 | 27
7258 | 25
7259 | 25
7260 | 27
7261 | 27
7262 | 27
7263 | 27
7264 | 27
7265 | 27
7267 | 25
7268 | 25
7270 | 25
7275 | 25
7276 | 25
7277 | 25
7290 | 25
7291 | 25
7292 | 25
7300 | 25
7301 | 25
7302 | 25
7303 | 25
7304 | 25
7305 | 22
7306 | 22
7307 | 22
7310 | 22
7315 | 22
7316 | 22
7320 | 22
7321 | 23
7322 | 22
7325 | 22
7330 | 22
7331 | 22
7466 | 23
7467 | 23
7468 | 23
7469 | 23
7470 | 23
7800 | 25
7802 | 26
7803 | 26
7804 | 26
7805 | 26
7806 | 26
7807 | 26
7808 | 26
7809 | 26
7810 | 26
7811 | 26
7812 | 26
7813 | 26
7814 | 26
7823 | 26
7824 | 26
7827 | 26
7828 | 26
7829 | 26
7845 | 26
7850 | 26
7892 | 26
7900 | 25
7901 | 25
7902 | 25
7903 | 25
7904 | 25
7905 | 25
7906 | 25
7907 | 25
7908 | 25
7916 | 22
7917 | 25
7918 | 25
7919 | 22
7920 | 25
7921 | 25
7922 | 22
7923 | 25
8001 | 18
8002 | 18
8003 | 18
8004 | 18
8005 | 18
8006 | 18
8007 | 18
8008 | 18
8009 | 18
8010 | 18
8045 | 18
8051 | 18
8060 | 18
8061 | 18
8066 | 18
8069 | 18
8070 | 18
8071 | 18
8100 | 18
8101 | 18
8102 | 18
8103 | 18
8107 | 18
8108 | 18
8111 | 18
8120 | 18
8205 | 18
8383 | 18
8386 | 18
8388 | 18
8390 | 18
8393 | 18
8394 | 18
8396 | 18
8399 | 18
8500 | 18
8507 | 18
8538 | 18
8557 | 18
8576 | 18
8622 | 18
8626 | 18
8627 | 18
8659 | 18
8785 | 18
8865 | 18
8873 | 18
9000 | 51
9001 | 51
9002 | 51
9003 | 51
9005 | 51
9007 | 51
9008 | 51
9009 | 51
9010 | 51
9013 | 51
9015 | 51
9016 | 51
9017 | 51
9018 | 51
9019 | 51
9020 | 51
9021 | 51
9022 | 51
9023 | 51
9464 | 51
9466 | 51
9726 | 51
9727 | 51
9728 | 51
9729 | 51

## State (hidden)
State_id | Name | Abbreviation
1 | Western Australia | WA
2 | Victoria | VIC
3 | Tasmania | TAS
4 | South Australia | SA
5 | Queensland | QLD
6 | New South Wales | NSW
7 | Australian Capital Territory | ACT
8 | Northern Territory | NT

## Version Control (hidden)
ABGR v5.1 / NABERS v2.0b (Pre-Oct/Nov 2008)
· Pre-NT rating band coefficient revision
NABERS v6.0 (Created on Oct/Nov 2008)
· NT rating band coefficients updated in Oct/Nov 2008 based on the Exergy NT Benchmarking Report 2007
· Rating thresholds for NT have changed automatically according to the new rating band coefficients
· ABGR v6.0 is re-labelled
NABERS v6.0 (Created on Dec 2008/Jan 2009 - not uploaded on website; Updated in March 2010)
NGAC (NSW Only) section is removed
State rating coefficients have been verified based on the latest benchmarking reports from Exergy, and Property Council of Australia ABGR Review/SEDA Supplementary Letter.
Added new check to ensure that the nominted star rating is at 0.5 increment. (updated in Mar 2010)
Put in conditional formatting so that the outputs are only visible when the nominated star ratings are between 0 to 5 and at 0.5 star increment. (updated in Mar 2010)
Truncate the outputs between row 46 to 50 to avoid discrenpancy with the online calculator because of the rounding issues. (updated in Mar 2010)
Rectified the error in formula for cell C68 (climate zone reference) in whole building rating worksheet because the referencing was incorrect on the climare_postcode_xref worksheet. (updated Mar 2010)
Updated formula (postcodes/state reference) in cell C64 in base building worksheet and C66 in tenancy worksheet with formulas same as the rating calculator. (updated in Mar 2010)
Change the formulas for cell B50 (whole building), B48 (tenancy) and B50 (base building) to calculate max total energy use in MJ (originally in kWh)
Change the formulas for cell B51 (whole building), B49 (tenancy) and B51 (base building) to calculate the total energy density from the max total energy use.